## D1-SB-COM-FOH-BS1-A
LOAD SCHEDULE — D1-SB-COM-FOH-BS1-A
FOR FOH COMMON AREA
Board Designation: | D1-SB-COM-FOH-BS1-A |  |  |  | Supply Source: | D1-EMSB-BS1
Incomer CB: |  |  |  |  | Busbar Rating: | 400A RATED 4P INSULATED CU BUSBAR
Incomer Cable: | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY
OUTGOING CIRCUITS
Circuit No. | Description / Load Name | CB Rating (A) | CB Type | No. of Poles | Breaking Cap. | Cable Size | Cable Route | Status | Remarks
P-1RYB | D1-MDB-COM-FOHRA-A | - | - | - | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
2RYB | D1-MDB-COM-FOH1A-A | - | - | - | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
3RYB | D1-MDB-COM-FOHGA-A | - | - | - | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
4RYB | 160A TPN MCCB 36KA | 400A | MCCB | TPN | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
5RYB | 100A TPN MCCB 36KA | 400A | MCCB | TPN | - | - | - | ACTIVE
6RYB | 100A TPN MCCB 36KA | 400A | MCCB | TPN | - | - | - | ACTIVE
7RYB | 63A TPN MCCB 36KA | - | - | - | - | - | - | ACTIVE
8RYB | 63A TPN MCCB 36KA | - | - | - | - | - | - | ACTIVE

## D1-MDB-COM-FOHRA-A
LOAD SCHEDULE — D1-MDB-COM-FOHRA-A
FOR COMMON AREA
Board Designation: | D1-MDB-COM-FOHRA-A |  |  |  | Supply Source: | D1-SB-COM-FOH-BS1-A
Incomer CB: |  |  |  |  | Busbar Rating: | 160A RATED 4P INSULATED CU BUSBAR
Incomer Cable: | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY
OUTGOING CIRCUITS
Circuit No. | Description / Load Name | CB Rating (A) | CB Type | No. of Poles | Breaking Cap. | Cable Size | Cable Route | Status | Remarks
P-1RYB | D1-DB-COM-FOHRA-A | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | ACTIVE
2RYB | 63A TPN MCCB 36KA | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | ACTIVE
3RYB | 63A TPN MCCB 36KA | - | - | - | - | - | - | ACTIVE
4RYB | 63A TPN MCCB 36KA | 160A | MCCB | TPN | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
5RYB | 63A TPN MCCB 36KA | 160A | MCCB | TPN | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
6RYB | 63A TPN MCCB 36KA | 160A | MCCB | TPN | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
7RYB | 63A TPN MCCB 36KA | - | - | - | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
8RYB | 63A TPN MCCB 36KA | - | - | - | - | - | - | ACTIVE

## D1-MDB-COM-FOH1A-A
LOAD SCHEDULE — D1-MDB-COM-FOH1A-A
D1-MDB-COM-FOH1A-A
Board Designation: | D1-MDB-COM-FOH1A-A |  |  |  | Supply Source: | D1-SB-COM-FOH-BS1-A
Incomer CB: |  |  |  |  | Busbar Rating: | 160A RATED 4P INSULATED CU BUSBAR
Incomer Cable: | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY
OUTGOING CIRCUITS
Circuit No. | Description / Load Name | CB Rating (A) | CB Type | No. of Poles | Breaking Cap. | Cable Size | Cable Route | Status | Remarks
P-1RYB | D1-DB-MMR3S1B-A | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | ACTIVE
2RYB | D1-DB-COM-FOH1A-A | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | ACTIVE
3RYB | 63A TPN MCCB 36KA | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | ACTIVE
4RYB | 4RYB | 160A | MCCB | TPN | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
5RYB | 5RYB | 160A | MCCB | TPN | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
6RYB | 6RYB | 160A | MCCB | TPN | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
7RYB | 63A TPN MCCB 36KA | - | - | - | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | ACTIVE
8RYB | 8RYB | - | - | - | - | - | - | ACTIVE

## D1-MDB-COM-FOHGA-A
LOAD SCHEDULE — D1-MDB-COM-FOHGA-A
FOR FOH ROOM LIGHTING, EMERGENCY LIGHTING, POWER POINT AND AC POINT
Board Designation: | D1-MDB-COM-FOHGA-A |  |  |  | Supply Source: | D1-SB-COM-FOH-BS1-A
Incomer CB: |  |  |  |  | Busbar Rating: | 160A RATED 4P INSULATED CU BUSBAR
Incomer Cable: | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY
OUTGOING CIRCUITS
Circuit No. | Description / Load Name | CB Rating (A) | CB Type | No. of Poles | Breaking Cap. | Cable Size | Cable Route | Status | Remarks
P-1RYB | D1-DB-MDF2SGB-A | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | ACTIVE
2RYB | D1-DB-MDF3SGB-A | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | ACTIVE
3RYB | D1-DB-COM-FOHGA-A | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | ACTIVE
4RYB | SPARE | 160A | MCCB | TPN | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | SPARE
5RYB | SPARE | 160A | MCCB | TPN | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | SPARE
6RYB | SPARE | 160A | MCCB | TPN | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | SPARE
7RYB | SPARE | - | - | - | - | 4 x 1C 70mm² XLPE/LSZH CU + 1C 35mm² CU CPC ON CABLE LADDER / TRAY | - | SPARE
8RYB | SPARE | - | - | - | - | - | - | SPARE

## D1-DB-COM-FOHRA-A
LOAD SCHEDULE — D1-DB-COM-FOHRA-A
FOR LIGHTING
Board Designation: | D1-DB-COM-FOHRA-A |  |  |  | Supply Source: | D1-MDB-COM-FOHRA-A
Incomer CB: |  |  |  |  | Busbar Rating: | 63A RATED 4P INSULATED CU BUSBAR
Incomer Cable:
OUTGOING CIRCUITS
Circuit No. | Description / Load Name | CB Rating (A) | CB Type | No. of Poles | Breaking Cap. | Cable Size | Cable Route | Status | Remarks
P-1RYB | ? | - | - | - | - | - | - | ACTIVE
2RYB | ? | - | - | - | - | - | - | ACTIVE
3RYB | ? | - | - | - | - | - | - | ACTIVE
4RYB | ? | - | - | - | - | - | - | ACTIVE
5RYB | ? | - | - | - | - | - | - | ACTIVE
6RYB | ? | - | - | - | - | - | - | ACTIVE
7RYB | ? | - | - | - | - | - | - | ACTIVE
8RYB | ? | 63A | MCCB | TPN | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | ACTIVE
P-1RYB | ? | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC ON CABLE TRUNKING / CONDUIT | - | ACTIVE
2RYB | ? | - | - | - | - | - | - | ACTIVE
3RYB | ? | - | - | - | - | - | - | ACTIVE
4RYB | ? | - | - | - | - | - | - | ACTIVE
5RYB | ? | - | - | - | - | - | - | ACTIVE
6RYB | ? | - | - | - | - | - | - | ACTIVE
7RYB | ? | - | - | - | - | - | - | ACTIVE
8RYB | ? | - | - | - | - | - | - | ACTIVE

## D1-DB-COM-FOH1A-A
LOAD SCHEDULE — D1-DB-COM-FOH1A-A
FOR FOH ROOM LIGHTING, EMERGENCY LIGHTING, POWER POINT AND AC POINT
Board Designation: | D1-DB-COM-FOH1A-A |  |  |  | Supply Source: | D1-MDB-COM-FOH1A-A
Incomer CB: |  |  |  |  | Busbar Rating: | 63A RATED 4P INSULATED CU BUSBAR
Incomer Cable:
OUTGOING CIRCUITS
Circuit No. | Description / Load Name | CB Rating (A) | CB Type | No. of Poles | Breaking Cap. | Cable Size | Cable Route | Status | Remarks
P-1RYB | 0.1 | - | - | - | - | - | - | ACTIVE
2RYB | FOR POWER EQUIPMENT AC / 2P,16A ISOLATOR FOR FCU/EAF | - | - | - | - | 3x1C 2.5mm² LSZH CU + 1C 2.5mm² CU CPC | - | ACTIVE
3RYB | 0.37 | - | - | - | - | 3x1C 2.5mm² LSZH CU + 1C 2.5mm² CU CPC | - | ACTIVE
4RYB | 0.37 | - | - | - | - | 2(4Cx1.5mm2 CU XLPE/LSHF) | - | ACTIVE
5RYB | 2x1C 4.0mm | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC | - | ACTIVE
6RYB | 2x1C 4.0mm | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC | - | ACTIVE
7RYB | 1.2 | - | - | - | - | - | - | ACTIVE
8RYB | 1.2 | - | - | - | - | - | - | ACTIVE

## D1-DB-COM-FOHGA-A
LOAD SCHEDULE — D1-DB-COM-FOHGA-A
FOR FOH ROOM LIGHTING, EMERGENCY LIGHTING, POWER POINT AND AC POINT
Board Designation: | D1-DB-COM-FOHGA-A |  |  |  | Supply Source: | D1-MDB-COM-FOHGA-A
Incomer CB: |  |  |  |  | Busbar Rating: | 63A RATED 4P INSULATED CU BUSBAR
Incomer Cable:
OUTGOING CIRCUITS
Circuit No. | Description / Load Name | CB Rating (A) | CB Type | No. of Poles | Breaking Cap. | Cable Size | Cable Route | Status | Remarks
1RYB | 3x1C 2.5mm² LSZH CU + 1C 2.5mm² CU CPC | - | - | - | - | 3x1C 2.5mm² LSZH CU + 1C 2.5mm² CU CPC | - | ACTIVE
2RYB | 0.37 | - | - | - | - | 2(4Cx1.5mm2 CU XLPE/LSHF) | - | ACTIVE
3RYB | 0.37 | - | - | - | - | 4 x 1C 16mm² LSZH CU + 1C 16mm² CU CPC | - | ACTIVE
1RYB | FOR POWER EQUIPMENT AC / 3P, 16A ISOLATOR FOR EAF AC / 3P, 25A ISOLATOR FOR DOCK LIFT | - | - | - | - | 3x1C 2.5mm² LSZH CU + 1C 2.5mm² CU CPC | - | ACTIVE
2RYB | FOR POWER EQUIPMENT AC / 3P, 16A ISOLATOR FOR EAF AC / 3P, 25A ISOLATOR FOR DOCK LIFT | - | - | - | - | 3x1C 2.5mm² LSZH CU + 1C 2.5mm² CU CPC | - | ACTIVE
3RYB | 4x1C 4.0mm | - | - | - | - | 4Cx1.5mm2 CU XLPE/LSHF | - | ACTIVE